## Table 1
산출내역서(근적외선 형광수명 이미징 시스템)
연번 | 제품명 | 상세내역 |  | 수량 | 금액
1 | Single Grating Emission Monochromator | Single Grating Emission Monochromator without Gratings Mounting for Picosecond Diode Lasers and LEDs EM2 Mirror optics for NIR measurements in T-geometry Baseplate extension for T configuration, FLS1000 Hire of Spectrometer Calibration Lamps, FLS series |  | 1 set
2 | NIR TE-Cooled PMT Detector | PMT-1700 in Peltier Cooled Housing, cut-off 1700 nm Grating for emission 600 grooves/mm - blaze 1000 nm Additional channel for TCC2 (high-speed) Order Sorting Filter, 1250nm |  | 1 set
3 | Extended Temperature Control Cryostat | Liquid Nitrogen Cryostat, X-geometry, 77K ~500K Powder holder for cryostat Cryostat Controller |  | 1 set
4 | Launcher and Liquid Light Guides | Launcher for liquid light guides Liquid light guide, 340 nm - 800 nm, 2 m, 3 mm core diameter Liquid light guide, 420 nm - 2000 nm, 2 m, 3 mm core diameter |  | 1 set
5 | Rigid Optical Table | Rigid Optical Table, 2400 x 1500 x 800mm, 200T |  | 1 kit
6 | Microscope with FLIM | Upright microscope with emission coupling, LLG XYZ stage for upright microscope, 75x50 mm Empty dichroic filter cube for Dichroic beamsplitter, 409/488nm 10X Objective for Fluorescence Microscope 10X Objective for Fluorescence Microscope 100X Objective for Fluorescence Microscope |  | 1 kit
|  | 합 | 계
V A T
|  | 총 | 계